▣ 조명장비 LIST

□ DIMMER UNIT PANEL

- 96 CIRCUIT(i96) 4EA / 48 CIRCUIT(i48) 1EA

- Total : 390 circuit (capacity-5kw)

□ AUDITORIUM & RD PANEL

- DIMMER 10EA /  RD 18EA

- POWER BOX 4 EA ☓ 4   D 16EA

□ CONSOLE

- GRAND MA(full size)  1EA  / TFT MONITOR  2EA

□ ETHERNET & DMX MULTI PANEL   -   1SET

□ ETHERNET PATCH PANEL           -   1SET

장비명	규 격	수량	비 고
Fresnel Spotlight	1000W	50
	2000W / ADB(F201)	60
Plano Convex Spotlight	1000W	22
Profile Spotlight	2000W / ADB(DN205)	24
Zoom Profile Spotlight	800W / ADB(WARP) 12°~30°	20	Gobo Holder : 30EA IRIS : 10EA
	800W / ADB(WARP) 22°~50°	10
Ellipsoidal Spotlight	750W / ETC(souce-4) 19°	16	Gobo Holder : 53EA IRIS : 10EA
	750W / ETC(souce-4) 26°	40
	750W / ETC(souce-4) 36°	16
Zoom Ellipsoidal Spotlight	750W / ETC(souce-4) 15°~30°	12
	750W / ETC(souce-4) 25°~50°	12
Horizont Light( Upper or Lower)	1250W×4 / ADB (ACP1004H×4)	14	가로형
PAR 64	1000W / KUPO(cp61)	42
Scan Light -TURBO1200	1200W	12	Mirror Scan
Fog Machine ZR33HI-MASS	1500W / MARTIN (Jem)	2	Oil - 9.5 Liter
Dry Ice Machine	5000W	2	STEEL
Follow Spotlight	2000W / SANEI (XENON SPOT)	3
Roll Stand - 3단	하중 28kg	8
Low Stand	하중 10kg	8	핸들형
Cable	Extension 2m	30	30A male & female
	Extension 3m	30
	Extension 5m	30
	Extension 10m	30
	Multidrop 1:2	96
	DMX Joint Cable 20m	20	5pin 전용
	SOCAPEX 15m	20	19pin jack male & female
	SOCAPEX 20m	10	19pin jack male & female
	CABLE BREAK OUT	30	19pin jack 1EA : 30A female 6EA

□ 조명장비

WOORI ART HALL